## Ark1
Bilag 4B: Deponiaske analyser
Renseanlæg Lynetten og Avedøre
Renseanlæg Lynetten: |  | Prøve
Stdato (Dato) | Reference | dybde, m | TS (pct.) | Total-P (mg/kg TS) | Sulfat vandopløslig (mg/kg TS) | Al (mg/kg TS) | As (mg/kg TS) | Pb (mg/kg TS) | Cd (mg/kg TS) | Ca (mg/kg TS) | Fe (mg/kg TS) | K (mg/kg TS) | Hg (mg/kg TS) | Mo (mg/kg TS) | Na (mg/kg TS) | Si (mg/kg TS) | Va (mg/kg TS) | Zn (mg/kg TS) |  | Napthalen (mg/kg) |  | Acenaphtylen (mg/kg) |  | Fluoren (mg/kg) |  | Phenanthren (mg/kg) |  | Anthracen (mg/kg) |  | Fluoranthen (mg/kg) |  | Pyren (mg/kg) |  | Benzo[a]anthracen (mg/kg) |  | Chrysen (mg/kg) |  | Benzo[b+j+k]fluoranthen (mg/kg) |  | Benzo[a]pyren (mg/kg) |  | Indeno[1,2,3-cd]pyren (mg/kg) |  | Dibenzo[a,h]anthracen (mg/kg) |  | Benzo[g,h,i]perylen (mg/kg) | PAH sum (mg/kg) |  | PCB nr. 28 (mg/kg) |  | PCB nr. 52 (mg/kg) |  | PCB nr. 101 (mg/kg) |  | PCB nr. 118 (mg/kg) |  | PCB nr. 138 (mg/kg) |  | PCB nr. 153 (mg/kg) |  | PCB nr. 180 (mg/kg) |  | Sum af 7 PCBer (mg/kg) |  | Sum af 7 PCBer x 5 excl LOQ (mg/kg) | TS [EC152/2007] (pct.) |  | 2. 3, 7, 8-TetraCDD (ng/kg TS) |  | 1, 2, 3, 7, 8-PentaCDD (ng/kg TS) |  | 1, 2 ,3, 4, 7, 8-HexaCDD (ng/kg TS) |  | 1, 2, 3, 6, 7, 8-HexaCDD (ng/kg TS) |  | 1, 2, 3, 7, 8, 9-HexaCDD (ng/kg TS) |  | 1, 2, 3, 4, 6, 7, 8-HeptaCDD (ng/kg TS) |  | OctaCDD (ng/kg TS) |  | 2, 3, 7, 8-TetraCDF (ng/kg TS) |  | 1,2,3,7,8-PentaCDF (ng/kg) |  | 2, 3, 4, 7, 8-PentaCDF (ng/kg TS) |  | 1, 2, 3, 4, 7, 8-HexaCDF (ng/kg TS) |  | 1, 2, 3, 6, 7, 8-HexaCDF (ng/kg TS) |  | 1, 2, 3, 7, 8, 9-HexaCDF (ng/kg TS) |  | 2, 3, 4, 6, 7, 8-HexaCDF (ng/kg TS) |  | 1, 2, 3, 4, 6, 7, 8-HeptaCDF (ng/kg TS) |  | 1, 2, 3, 4, 7, 8, 9-HeptaCDF (ng/kg TS) |  | OctaCDF (ng/kg TS) |  | WHO 1998-PCDD/F TEQ lower-bound (ng/kg TS) | WHO 1998-PCDD/F TEQ upper-bound (ng/kg TS) |  | WHO 2005-PCDD/F TEQ lower-bound (ng/kg TS) | WHO 2005-PCDD/F TEQ upper-bound (ng/kg TS) |  | I-TEQ NATO/CCMS lower-bound (ng/kg TS) | I-TEQ NATO/CCMS upper-bound (ng/kg TS)
2016-07-12 00:01 | L 1.2 | 2.7 | 76 | 20000 | 1900 | 13000 | 6.3 | 280 | 3.4 | 87000 | 18000 | 4100 | 0.91 | 4.2 | 4000 | 140000 | 36 | 1100 |  | 0.06 |  | 0.018 |  | 0.032 |  | 0.54 |  | 0.14 |  | 1.7 |  | 1.5 |  | 0.67 |  | 0.74 |  | 1.7 |  | 0.83 |  | 0.46 |  | 0.1 |  | 0.66 | 9.2 | < | 0.001 | < | 0.004 | < | 0.006 | < | 0.003 |  | 0.014 |  | 0.011 |  | 0.0054 |  | 0.03 |  | 0.15 | 77.1 |  | 2.3 |  | 8.02 |  | 5.77 |  | 10.2 |  | 6.73 |  | 101 |  | 908 |  | 26.8 |  | 10.3 |  | 25.4 |  | 13.1 |  | 13.3 | < | 5.19 |  | 21.2 |  | 58.2 |  | 8.61 |  | 62.8 |  | 35 | 35.5 |  | 29.9 | 30.4 |  | 31.9 | 32.4
2016-07-12 00:02 | L 1.3 | 4.4 | 74 | 18000 | 850 | 13000 | 6.1 | 230 | 3 | 82000 | 18000 | 3800 | 0.85 | 3.4 | 3400 | 130000 | 32 | 950 |  | 0.015 |  | 0.018 |  | 0.01 |  | 0.17 |  | 0.049 |  | 0.39 |  | 0.41 |  | 0.15 |  | 0.27 |  | 0.72 |  | 0.35 |  | 0.22 |  | 0.048 |  | 0.31 | 3.1 | < | 0.001 | < | 0.002 | < | 0.002 | < | 0.008 | < | 0.02 | < | 0.007 | < | 0.005 | # |  | # |  | 77.3 |  | 2.59 |  | 9.28 |  | 7.37 |  | 12.8 |  | 9.13 |  | 108 |  | 743 |  | 26.1 |  | 11.1 |  | 28 |  | 14.6 |  | 14.7 | < | 6.67 |  | 24.1 |  | 72.8 |  | 13 |  | 86.7 |  | 39.3 | 40 |  | 33.7 | 34.3 |  | 35.4 | 36.1
2016-07-12 00:03 | L 2.1 | 0.25 | 64 | 82000 | 6300 | 24000 | 11 | 240 | 4.9 | 160000 | 57000 | 9400 | 0.73 | 6.9 | 4500 | 140000 | 33 | 1400 |  | 0.038 | < | 0.005 | < | 0.005 |  | 0.076 |  | 0.013 |  | 0.13 |  | 0.14 |  | 0.023 |  | 0.016 |  | 0.17 | < | 0.04 | < | 0.04 | < | 0.03 | < | 0.05 | 0.61 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.001 | # |  | # |  | 67.1 | < | 0.23 | < | 0.31 | < | 0.61 | < | 0.61 | < | 0.61 |  | 2.41 |  | 20.5 |  | 0.786 | < | 0.56 |  | 0.903 | < | 0.51 | < | 0.51 | < | 0.51 |  | 0.517 |  | 1.37 | < | 0.48 | < | 4.1 |  | 0.622 | 1.53 |  | 0.445 | 1.34 |  | 0.64 | 1.4
2016-07-12 00:04 | L 2.2 | 2.8 | 70 | 50000 | 9100 | 20000 | 8.6 | 210 | 2.9 | 120000 | 42000 | 7200 | 0.67 | 6.3 | 3300 | 130000 | 31 | 1100 |  | 0.048 |  | 0.013 |  | 0.009 |  | 0.44 |  | 0.08 |  | 0.46 |  | 0.52 |  | 0.045 |  | 0.052 | < | 0.6 | < | 0.2 | < | 0.09 | < | 0.04 | < | 0.2 | 1.7 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.001 | # |  | # |  | 70 | < | 0.22 |  | 0.636 | < | 0.58 |  | 0.891 |  | 0.586 |  | 10.4 |  | 104 |  | 2 |  | 1.15 |  | 2.45 |  | 1.34 |  | 1.44 | < | 0.749 |  | 1.98 |  | 8.64 |  | 0.897 |  | 12.9 |  | 2.95 | 3.3 |  | 2.46 | 2.81 |  | 2.74 | 3.09
2016-07-12 00:05 | L 2.3 | 4.8 | 56 | 67000 | 2900 | 25000 | 8.8 | 300 | 3.4 | 120000 | 40000 | 9300 | 0.71 | 9.5 | 6000 | 150000 | 30 | 1300 |  | 0.038 |  | 0.006 | < | 0.005 |  | 0.1 |  | 0.05 |  | 0.24 |  | 0.2 |  | 0.066 |  | 0.056 |  | 0.47 |  | 0.17 |  | 0.084 |  | 0.03 |  | 0.084 | 1.6 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.001 | # |  | # |  | 62.3 | < | 0.21 |  | 0.603 | < | 0.55 |  | 0.937 | < | 0.55 |  | 8.94 |  | 65.9 |  | 2.27 |  | 1.58 |  | 3.15 |  | 2.13 |  | 2.25 | < | 1.08 |  | 2.6 |  | 8.57 |  | 1.19 |  | 7.21 |  | 3.47 | 3.9 |  | 2.82 | 3.25 |  | 3.24 | 3.66
2016-07-12 00:06 | L 3.1 | 0.25 | 76 | 52000 | 13000 | 15000 | 12 | 91 | 2.6 | 110000 | 36000 | 6200 | 0.19 | 3.8 | 2900 | 81000 | 33 | 1400 | < | 0.005 | < | 0.005 | < | 0.005 |  | 0.062 |  | 0.007 |  | 0.12 |  | 0.1 |  | 0.037 |  | 0.048 |  | 0.12 |  | 0.052 |  | 0.028 |  | 0.007 |  | 0.045 | 0.63 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.002 | # |  | # |  | 78.5 | < | 0.18 | < | 0.24 | < | 0.49 |  | 0.709 | < | 0.49 |  | 12.8 |  | 120 |  | 0.621 | < | 0.45 |  | 0.642 |  | 0.753 |  | 0.617 | < | 0.41 |  | 0.592 |  | 6.88 |  | 0.483 |  | 14.7 |  | 0.866 | 1.46 |  | 0.764 | 1.34 |  | 0.987 | 1.45
2016-07-12 00:07 | L 3.2 | 2.8 | 60 | 78000 | 17000 | 16000 | 11 | 91 | 2.7 | 130000 | 42000 | 8400 | 0.08 | 5.7 | 3500 | 140000 | 32 | 1600 | < | 0.005 | < | 0.005 | < | 0.005 |  | 0.015 | < | 0.005 |  | 0.052 |  | 0.048 |  | 0.018 |  | 0.02 |  | 0.066 |  | 0.031 |  | 0.018 | < | 0.005 |  | 0.025 | 0.29 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.001 | # |  | # |  | 61.7 | < | 0.21 | < | 0.28 | < | 0.56 | < | 0.56 | < | 0.56 |  | 9.49 |  | 87.6 | < | 0.37 | < | 0.51 | < | 0.51 | < | 0.47 | < | 0.47 | < | 0.47 | < | 0.47 |  | 4.73 | < | 0.44 |  | 11.6 |  | 0.152 | 1.32 |  | 0.172 | 1.23 |  | 0.241 | 1.27
2016-07-12 00:08 | L 3.3 | 4.5 | 63 | 63000 | 17000 | 19000 | 11 | 100 | 2.1 | 110000 | 44000 | 7200 | 0.12 | 5.3 | 3400 | 130000 | 34 | 1400 |  | 0.005 | < | 0.005 | < | 0.005 |  | 0.022 | < | 0.005 |  | 0.063 |  | 0.058 |  | 0.014 |  | 0.014 |  | 0.13 |  | 0.036 |  | 0.012 | < | 0.005 |  | 0.02 | 0.37 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.001 | # |  | # |  | 64.9 | < | 0.19 | < | 0.25 | < | 0.51 |  | 0.682 | < | 0.51 |  | 8.17 |  | 50.2 |  | 1.29 | < | 0.47 |  | 0.803 | < | 0.42 | < | 0.42 | < | 0.42 |  | 0.512 |  | 2.97 | < | 0.4 |  | 3.5 |  | 0.767 | 1.47 |  | 0.617 | 1.31 |  | 0.815 | 1.39
2016-07-12 00:09 | L 4.1 | 0.25 | 66 | 73000 | 1900 | 20000 | 9.4 | 100 | 2 | 110000 | 58000 | 6100 | 0.03 | 4 | 3800 | 140000 | 37 | 1500 |  | 0.013 |  | 0.04 |  | 0.038 |  | 0.83 |  | 0.11 |  | 0.77 |  | 0.58 |  | 0.11 |  | 0.11 |  | 0.78 |  | 0.34 |  | 0.13 |  | 0.048 |  | 0.15 | 4 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.001 | # |  | # |  | 68.5 | < | 0.22 | < | 0.3 | < | 0.6 |  | 0.803 | < | 0.6 |  | 21.7 |  | 193 | < | 0.4 | < | 0.55 | < | 0.55 | < | 0.5 | < | 0.5 | < | 0.5 | < | 0.5 |  | 11.3 | < | 0.47 |  | 26 |  | 0.432 | 1.62 |  | 0.476 | 1.54 |  | 0.629 | 1.67
2016-07-12 00:10 | L 4.2 | 1.8 | 63 | 78000 | 12000 | 20000 | 11 | 130 | 2.2 | 100000 | 83000 | 6600 | 0.03 | 8.2 | 7900 | 140000 | 39 | 1600 |  | 0.06 | < | 0.005 |  | 0.01 |  | 0.32 |  | 0.044 |  | 0.23 |  | 0.2 |  | 0.026 |  | 0.026 |  | 0.25 |  | 0.096 | < | 0.03 | < | 0.005 | < | 0.06 | 1.3 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.001 | # |  | # |  | 62.8 | < | 0.24 | < | 0.32 | < | 0.65 | < | 0.65 | < | 0.65 |  | 5.98 |  | 56.2 |  | 0.959 |  | 0.627 |  | 0.952 |  | 0.733 |  | 0.691 | < | 0.54 |  | 0.658 |  | 4.16 | < | 0.51 |  | 6.79 |  | 0.919 | 1.74 |  | 0.729 | 1.55 |  | 0.976 | 1.63
2016-07-12 00:11 | L 4.3 | 4.8 | 56 | 93000 | 15000 | 22000 | 11 | 110 | 1.8 | 140000 | 100000 | 8000 | 0.02 | 6.2 | 8300 | 110000 | 42 | 2000 |  | 0.019 | < | 0.005 | < | 0.005 |  | 0.052 | < | 0.005 |  | 0.095 |  | 0.069 | < | 0.02 | < | 0.02 | < | 0.07 | < | 0.03 | < | 0.03 | < | 0.03 | < | 0.03 | 0.24 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.001 | # |  | # |  | 57.1 | < | 0.26 | < | 0.34 | < | 0.68 | < | 0.68 | < | 0.68 |  | 2.95 |  | 25.9 |  | 0.496 | < | 0.62 | < | 0.62 | < | 0.57 | < | 0.57 | < | 0.57 | < | 0.57 |  | 1.95 | < | 0.54 | < | 4.5 |  | 0.101 | 1.48 |  | 0.106 | 1.35 |  | 0.124 | 1.33
Renseanlæg Avedøre |  | Prøve
Stdato (Dato) | Reference+C19:C31 | dybde, m | TS (pct.) | Total-P (mg/kg TS) | Sulfat vandopløslig (mg/kg TS) | Al (mg/kg TS) | As (mg/kg TS) | Pb (mg/kg TS) | Cd (mg/kg TS) | Ca (mg/kg TS) | Fe (mg/kg TS) | K (mg/kg TS) | Hg (mg/kg TS) | Mo (mg/kg TS) | Na (mg/kg TS) | Si (mg/kg TS) | Va (mg/kg TS) | Zn (mg/kg TS) |  | Napthalen (mg/kg) |  | Acenaphtylen (mg/kg) |  | Fluoren (mg/kg) |  | Phenanthren (mg/kg) |  | Anthracen (mg/kg) |  | Fluoranthen (mg/kg) |  | Pyren (mg/kg) |  | Benzo[a]anthracen (mg/kg) |  | Chrysen (mg/kg) |  | Benzo[b+j+k]fluoranthen (mg/kg) |  | Benzo[a]pyren (mg/kg) |  | Indeno[1,2,3-cd]pyren (mg/kg) |  | Dibenzo[a,h[anthracen (mg/kg) |  | Benzo[g,h,i]perylen (mg/kg) | PAH sum (mg/kg) |  | PCB nr. 28 (mg/kg) |  | PCB nr. 52 (mg/kg) |  | PCB nr. 101 (mg/kg) |  | PCB nr. 118 (mg/kg) |  | PCB nr. 138 (mg/kg) |  | PCB nr. 153 (mg/kg) |  | PCB nr. 180 (mg/kg) |  | Sum af 7 PCBer (mg/kg) |  | Sum af 7 PCBer x 5 excl LOQ (mg/kg) | TS [EC152/2007] (pct.) |  | 2. 3, 7, 8-TetraCDD (ng/kg TS) |  | 1, 2, 3, 7, 8-PentaCDD (ng/kg TS) |  | 1, 2 ,3, 4, 7, 8-HexaCDD (ng/kg TS) |  | 1, 2, 3, 6, 7, 8-HexaCDD (ng/kg TS) |  | 1, 2, 3, 7, 8, 9-HexaCDD (ng/kg TS) |  | 1, 2, 3, 4, 6, 7, 8-HeptaCDD (ng/kg TS) |  | OctaCDD (ng/kg TS) |  | 2, 3, 7, 8-TetraCDF (ng/kg TS) |  | 1,2,3,7,8-PentaCDF (ng/kg) |  | 2, 3, 4, 7, 8-PentaCDF (ng/kg TS) |  | 1, 2, 3, 4, 7, 8-HexaCDF (ng/kg TS) |  | 1, 2, 3, 6, 7, 8-HexaCDF (ng/kg TS) |  | 1, 2, 3, 7, 8, 9-HexaCDF (ng/kg TS) |  | 2, 3, 4, 6, 7, 8-HexaCDF (ng/kg TS) |  | 1, 2, 3, 4, 6, 7, 8-HeptaCDF (ng/kg TS) |  | 1, 2, 3, 4, 7, 8, 9-HeptaCDF (ng/kg TS) |  | OctaCDF (ng/kg TS) |  | WHO(1998)-PCDD/F TEQ (lower-bound) (ng/kg TS) | WHO(1998)-PCDD/F TEQ (upper-bound) (ng/kg TS) |  | WHO(2005)-PCDD/F TEQ (lower-bound) (ng/kg TS) | WHO(2005)-PCDD/F TEQ (upper-bound) (ng/kg TS) |  | I-TEQ (NATO/CCMS) (lower-bound) (ng/kg TS) | I-TEQ (NATO/CCMS) (upper-bound) (ng/kg TS)
2016-07-12 00:01 | A 1.1 | 1.9 | 69 | 85000 | 14000 | 23000 | 18 | 130 | 3.1 | 170000 | 93000 | 4000 | 0.12 | 6.7 | 3400 | 110000 | 38 | 1400 | < | 0.005 | < | 0.005 | < | 0.005 |  | 0.015 | < | 0.005 |  | 0.022 |  | 0.019 | < | 0.005 |  | 0.007 |  | 0.025 |  | 0.009 | < | 0.005 | < | 0.005 | < | 0.005 | 0.097 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.002 | < | 0.002 | < | 0.001 | < | 0.002 | # |  | # |  | 70.3 | < | 0.21 |  | 0.323 | < | 0.57 |  | 1.01 |  | 0.716 |  | 13.8 |  | 103 |  | 5.9 |  | 1.07 |  | 3.21 |  | 0.933 |  | 0.721 | < | 0.48 |  | 0.923 |  | 3.1 | < | 0.45 |  | 4.59 |  | 3.18 | 3.5 |  | 2.54 | 2.86 |  | 3.12 | 3.44
2016-07-12 00:02 | A 1.2 | 2.7 | 68 | 87000 | 14000 | 20000 | 17 | 140 | 2.6 | 170000 | 110000 | 3800 | 0.03 | 6.1 | 3300 | 120000 | 40 | 1400 | < | 0.005 | < | 0.005 | < | 0.005 | < | 0.005 | < | 0.005 |  | 0.007 |  | 0.007 | < | 0.005 | < | 0.005 |  | 0.062 |  | 0.023 |  | 0.016 |  | 0.006 |  | 0.016 | 0.14 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.001 | # |  | # |  | 68.1 | < | 0.21 | < | 0.28 | < | 0.57 | < | 0.57 | < | 0.57 |  | 2.73 |  | 18.1 |  | 1.35 | < | 0.52 |  | 0.746 | < | 0.47 | < | 0.47 | < | 0.47 | < | 0.47 |  | 0.978 | < | 0.45 | < | 3.8 |  | 0.547 | 1.43 |  | 0.402 | 1.28 |  | 0.563 | 1.31
2016-07-12 00:03 | A 1.3 | 3.7 | 65 | 88000 | 15000 | 21000 | 18 | 120 | 3.1 | 190000 | 99000 | 3800 | 0.03 | 7.4 | 3600 | 120000 | 34 | 1400 | < | 0.005 | < | 0.005 | < | 0.005 |  | 0.009 | < | 0.005 | < | 0.005 | < | 0.005 | < | 0.005 | < | 0.005 | < | 0.007 | < | 0.005 | < | 0.008 | < | 0.005 | < | 0.008 | 0.009 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.004 | < | 0.001 | < | 0.002 | # |  | # |  | 65.3 | < | 0.24 | < | 0.32 | < | 0.65 | < | 0.65 | < | 0.65 |  | 1.78 |  | 9.07 |  | 0.828 | < | 0.6 | < | 0.6 | < | 0.54 | < | 0.54 | < | 0.54 | < | 0.54 | < | 0.7 | < | 0.51 | < | 4.3 |  | 0.102 | 1.42 |  | 0.103 | 1.29 |  | 0.11 | 1.27
2016-07-12 00:04 | A 2.1 | 0.25 | 65 | 90000 | 14000 | 26000 | 19 | 280 | 6 | 180000 | 96000 | 4400 | 0.09 | 8.2 | 3100 | 110000 | 37 | 1800 |  | 0.008 | < | 0.005 | < | 0.005 |  | 0.02 | < | 0.005 |  | 0.016 |  | 0.026 |  | 0.006 |  | 0.007 |  | 0.12 |  | 0.073 |  | 0.04 |  | 0.031 |  | 0.056 | 0.4 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.001 | # |  | # |  | 63.5 | < | 0.24 | < | 0.32 | < | 0.63 | < | 0.63 | < | 0.63 | < | 0.63 |  | 8.27 |  | 1.43 |  | 0.66 |  | 1.15 |  | 0.929 |  | 0.946 | < | 0.53 |  | 0.951 |  | 6.57 |  | 0.804 |  | 12.6 |  | 1.2 | 2 |  | 0.983 | 1.78 |  | 1.31 | 1.94
2016-07-12 00:05 | A 2.2 | 2.7 | 64 | 71000 | 14000 | 29000 | 19 | 260 | 5.2 | 180000 | 100000 | 4200 | 0.03 | 6.5 | 2900 | 130000 | 41 | 2300 | < | 0.005 | < | 0.005 | < | 0.005 |  | 0.01 | < | 0.005 |  | 0.017 |  | 0.021 |  | 0.006 |  | 0.006 |  | 0.03 |  | 0.012 |  | 0.008 | < | 0.005 |  | 0.015 | 0.13 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.001 | # |  | # |  | 62.8 | < | 0.22 | < | 0.3 | < | 0.59 | < | 0.59 | < | 0.59 |  | 9.68 |  | 75.6 |  | 0.651 | < | 0.54 | < | 0.54 | < | 0.49 |  | 0.5 | < | 0.49 |  | 0.922 |  | 7.75 |  | 2.33 |  | 43 |  | 0.417 | 1.51 |  | 0.44 | 1.42 |  | 0.524 | 1.47
2016-07-12 00:06 | A 2.3 | 3.7 | 63 | 77000 | 15000 | 28000 | 18 | 250 | 4.7 | 180000 | 100000 | 4100 | 0.01 | 5.8 | 3000 | 130000 | 37 | 2200 | < | 0.005 | < | 0.005 | < | 0.005 | < | 0.005 | < | 0.005 | < | 0.005 | < | 0.005 | < | 0.005 | < | 0.005 |  | 0.015 |  | 0.006 |  | 0.006 | < | 0.005 |  | 0.007 | 0.034 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.001 | # |  | # |  | 63.5 | < | 0.25 | < | 0.33 | < | 0.65 | < | 0.65 | < | 0.65 | < | 0.74 |  | 3.93 |  | 0.658 | < | 0.6 | < | 0.6 | < | 0.55 | < | 0.55 | < | 0.55 | < | 0.55 | < | 0.71 | < | 0.52 | < | 4.4 |  | 0.0662 | 1.4 |  | 0.067 | 1.27 |  | 0.0697 | 1.25
2016-07-12 00:07 | A 3.1 | 0.25 | 71 | 89000 | 13000 | 22000 | 19 | 110 | 10 | 170000 | 68000 | 6000 | 3.1 | 8.5 | 5700 | 130000 | 34 | 1400 | < | 0.005 | < | 0.005 | < | 0.005 |  | 0.014 | < | 0.005 |  | 0.026 |  | 0.029 |  | 0.017 |  | 0.015 |  | 0.055 |  | 0.021 |  | 0.011 | < | 0.005 |  | 0.017 | 0.21 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.001 | # |  | # |  | 72.4 | < | 0.21 | < | 0.28 | < | 0.57 | < | 0.57 | < | 0.57 |  | 6.14 |  | 58.2 | < | 0.38 | < | 0.52 | < | 0.52 | < | 0.47 | < | 0.47 | < | 0.47 | < | 0.47 |  | 3.86 | < | 0.45 |  | 8.18 |  | 0.107 | 1.29 |  | 0.12 | 1.19 |  | 0.166 | 1.2
2016-07-12 00:08 | A 3.2 | 2.7 | 67 | 93000 | 14000 | 20000 | 20 | 120 | 7.4 | 180000 | 86000 | 4900 | 6.5 | 5.1 | 3200 | 130000 | 35 | 1300 |  | 0.006 | < | 0.005 | < | 0.005 |  | 0.008 | < | 0.005 | < | 0.005 |  | 0.019 |  | 0.01 |  | 0.016 |  | 0.71 |  | 0.24 |  | 0.18 |  | 0.075 |  | 0.17 | 1.5 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.001 | # |  | # |  | 69.9 | < | 0.28 | < | 0.38 | < | 0.75 | < | 0.75 | < | 0.75 |  | 2.63 |  | 12.7 | < | 0.5 | < | 0.69 | < | 0.69 | < | 0.63 | < | 0.63 | < | 0.63 | < | 0.63 | < | 0.81 | < | 0.6 | < | 5 |  | 0.0275 | 1.61 |  | 0.0301 | 1.46 |  | 0.039 | 1.43
2016-07-12 00:09 | A 3.3 | 3.7 | 70 | 100000 | 14000 | 21000 | 23 | 120 | 7.6 | 170000 | 86000 | 5100 | 2.8 | 5.2 | 3300 | 110000 | 40 | 1300 |  | 0.007 | < | 0.005 | < | 0.005 | < | 0.005 | < | 0.005 | < | 0.005 | < | 0.005 | < | 0.005 | < | 0.005 |  | 0.089 |  | 0.034 |  | 0.039 |  | 0.015 |  | 0.049 | 0.23 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.001 | # |  | # |  | 70.5 | < | 0.21 | < | 0.29 | < | 0.57 | < | 0.57 | < | 0.57 |  | 0.811 |  | 4.61 | < | 0.38 | < | 0.53 | < | 0.53 | < | 0.48 | < | 0.48 | < | 0.48 | < | 0.48 | < | 0.62 | < | 0.45 | < | 3.8 |  | 0.00857 | 1.21 |  | 0.00949 | 1.1 |  | 0.0127 | 1.08
2016-07-12 00:10 | A 4.1 | 0.25 | 71 | 110000 | 12000 | 26000 | 16 | 120 | 3.3 | 150000 | 91000 | 5900 | 2.7 | 7.9 | 3200 | 130000 | 40 | 2400 | < | 0.005 | < | 0.005 | < | 0.005 |  | 0.01 |  | 0.013 |  | 0.061 |  | 0.06 |  | 0.041 |  | 0.058 |  | 0.51 |  | 0.19 |  | 0.21 |  | 0.1 |  | 0.25 | 1.5 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.001 | # |  | # |  | 70.6 | < | 0.21 | < | 0.27 | < | 0.55 | < | 0.55 | < | 0.55 | < | 0.62 | < | 2.5 | < | 0.37 | < | 0.5 | < | 0.5 | < | 0.46 | < | 0.46 | < | 0.46 | < | 0.46 | < | 0.59 | < | 0.43 | < | 3.7 | N |  | 1.16 | N |  | 1.05 | N |  | 1.03
2016-07-12 00:11 | A 4.2 | 3.2 | 68 | 91000 | 14000 | 22000 | 13 | 110 | 3.4 | 120000 | 78000 | 4900 | 3.2 | 6.2 | 2800 | 120000 | 33 | 1600 |  | 0.047 | < | 0.005 | < | 0.005 |  | 0.009 | < | 0.005 |  | 0.008 |  | 0.006 | < | 0.005 | < | 0.005 |  | 0.035 |  | 0.0012 |  | 0.009 | < | 0.005 |  | 0.0012 | 0.14 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.001 | # |  | # |  | 69.4 | < | 0.22 | < | 0.3 | < | 0.6 | < | 0.6 | < | 0.6 | < | 0.67 | < | 2.7 | < | 0.4 | < | 0.55 | < | 0.55 | < | 0.5 | < | 0.5 | < | 0.5 | < | 0.5 | < | 0.65 | < | 0.47 | < | 4 | N |  | 1.27 | N |  | 1.15 | N |  | 1.12
2016-07-12 00:12 | A 4.3 | 4.7 | 70 | 99000 | 13000 | 22000 | 11 | 94 | 3.3 | 140000 | 82000 | 4900 | 3.4 | 7.3 | 3000 | 150000 | 34 | 2000 | < | 0.005 | < | 0.005 | < | 0.005 |  | 0.006 | < | 0.005 |  | 0.014 |  | 0.012 |  | 0.007 |  | 0.006 |  | 0.027 |  | 0.008 |  | 0.006 | < | 0.005 |  | 0.01 | 0.096 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.001 | < | 0.001 | # |  | # |  | 70.5 | < | 0.22 | < | 0.29 | < | 0.59 | < | 0.59 | < | 0.59 | < | 0.66 |  | 3.18 | < | 0.39 | < | 0.54 | < | 0.54 | < | 0.49 | < | 0.49 | < | 0.49 | < | 0.49 | < | 0.63 | < | 0.46 | < | 3.9 |  | 0.000318 | 1.24 |  | 0.000954 | 1.12 |  | 0.00318 | 1.1